Government of Rajasthan
PWD - Building Division, Udaipur

TECHNICAL REPORT & DETAILED ESTIMATE

Project: Construction of Commercial Complex for Panchayat Samiti, Girwa, Udaipur

Building: G + 5 RCC Framed Structure

Built-up Area: 2345 m²

Estimated Cost: ₹ 4.45 Crore

Administrative Sanction No.: ____________________    Date: ________________

## 1. Name of Work

Construction of Commercial Complex for Panchayat Samiti, Girwa, Udaipur.

## 2. Location

Site: Girwa, Udaipur, Rajasthan.

## 3. Scope of Work

G+5 RCC framed commercial complex including retail spaces, offices, circulation, services, and external development works.

## 4. General Specifications

- Foundation: Isolated RCC footings in M20 concrete with random rubble masonry as required.

- Superstructure: RCC framed structure (M20 concrete) with Fe500 reinforcement; brick/stone masonry infill.

- Flooring: Vitrified tiles/Kota stone as per finish schedule.

- Finishes: External acrylic weather coat; internal OBD/distemper; enamel on metal/wood.

- Sanitary: CP fittings, PVC/SWR piping as per PWD specifications.

- Electrical: Concealed copper wiring with MCB distribution and LED fixtures.

- Rainwater Harvesting and Solar provision as per report.

## 5. Design Basis

Design to conform to BIS codes including IS 456, IS 1893, IS 875 and NBC 2016.

## 6. Detailed Abstract of Cost (Stage-wise)

The detailed abstract below includes cost breakup for all stages of work, rounded to two decimal places (₹ in Lakhs).

| S. No. | Description of Works | Amount (₹ Lakhs) |
| --- | --- | --- |
| 1 | Civil Work (Ground Floor) - Structural works, etc. | 64.60 |
| 2 | Civil Work (First Floor) - Structural works, etc. | 52.97 |
| 3 | Civil Work (Second Floor) - Structural works, etc. | 54.30 |
| 4 | Civil Work (Third Floor) - Structural works, etc. | 55.65 |
| 5 | Civil Work (Fourth Floor) - Structural works, etc. | 57.05 |
| 6 | Civil Work (Fifth Floor) - Structural works, etc. | 58.47 |
| 7 | Sanitary Work - Internal sanitary installations | 27.44 |
| 8 | Electrical Work - Internal electrification | 41.16 |
| 9 | Sewerage Work - SWR/PVC piping, manholes | 13.72 |
| 10 | Development Work - External paving, boundary wall | 27.44 |
| 11 | Contingencies, Supervision, Quality assurance | 19.14 |
|  | Total Estimated Cost | 444.51 (≈ ₹ 4.45 Crore) |

Note: All values are rounded to two decimal places.

## 7. Drawings

Architectural Plans, Structural Drawings, Electrical & Sanitary Layouts, and Site plan are attached as Annexures.

## 8. Certificates

I hereby certify that the estimate has been prepared as per PWD specifications and local Schedule of Rates. The design and estimate are recommended for administrative sanction.

Prepared by:

Assistant Engineer, PWD Sub Division – Girwa

Checked by:

Executive Engineer, PWD Division – Udaipur

Date: 02 November 2025